	2024 ASBESTOS REGISTER – DISCOVERY (Building 12), Rockhampton Girls Grammar School  
Date of register: 06/06/2024
NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work.

	Workplace address:
	Rockhampton Girls 
Grammar School –
Denham Street, 
Rockhampton City QLD 4700
	Name and contact details of competent person:
	Lawrence Lyons
Asbestos Assessor Licence No. 2317266

Environics (QLD) Pty Ltd
ABN 76 354 368 913
Tel. 0429 128 145

	Workplace owner / manager:
	Kasey Mitchell
Facilities and Services Manager Rockhampton Girls Grammar School 
Tel. 0427 414 819

	Areas not assessed:
	Ceiling cavities located beyond inspection openings, utility pits, and elevated areas where safety measures cannot be practically implemented.

	Asbestos related 
documents:
	ENV-2023-062  Ver 1-4 Asbestos Management Plan & ACM Register - RGGS, Denham St The Range Q 4700.pdf   
· Appendix One	ENV-2023-062-RGGS-ASBESTOS REGISTER-v1-02.10.2024. (this document)
· Appendix Two         RGGS-691-PRO-ASBESTOS-MANAGEMENT-PROCEDURE-v1-24.07.2024
· Appendix Three      RGGS-692-PRO-ASBESTOS-INCIDENT-MANAGEMENT-PROCEDURE-v1-24.07.2024
· Appendix Four       RGGS-720-GDL-ASBESTOS-MANAGEMENT-POSTER-v1-24.07.2024


	Consultation:
	Attach minutes of relevant future meeting to this document.

	Disclaimer and 
Limitations:
	Inspections were limited to accessible areas without dismantling or removing objects, including vegetation, insulation, coverings, furnishings, and personal belongings. Areas such as inside walls, between floors, and behind stored items were not inspected. No destructive procedures were performed, and relevant legislation was followed. For further details on regulations, please refer to additional materials. Compliance and Liability: This register does not serve as a 'Certificate of Compliance' unless specified and does not warranty against future asbestos issues. The report does not confirm that all areas are asbestos-free. The competent person is not liable for undetectable asbestos requiring structural disruption. 

	

Date
	
Sample       No.
	Type of material identified or assumed and amount 
(Cross-sectional areas
 are estimates – measure before quoting)
	
Friable or non-friable asbestos
	

Condition of asbestos
	
Specific location of identified or assumed asbestos
	


Notes

	05/08/2024
	

	

	


	

	

	A previous asbestos survey designated this building as Modular Building K 1 & K2 
Reinspection 14/09/2024 and further sampling. 
The desktop review of historical records, coupled with the walkthrough inspection, additional sampling verified that that there is no visual evidence of ACMs in this building. 
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	2024 ASBESTOS REGISTER – FLORENCE HOUSE, Rockhampton Girls Grammar School  
Date of register: 06/06/2024
NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work.

	NON-ASBESTOS MATERIALS

The following materials were tested and found not to contain asbestos:


	Date 
	  Sample
No.
	Result of Analysis
	Location 
	Notes

	05/08/2024
	
 KM1
	 No Asbestos fibre detected
	 Interior:
Wall sheeting to entrance alcoves of the Classrooms
	19 October 2013 – SLR report:
Sampling of this location

	05/08/2024
	 KM2
	 No Asbestos fibre detected
	 Interior:
 Wall sheeting to dividing walls of classrooms
	19 October 2013 – SLR report:
Sampling of this location

	05/08/2024
	 KM3
	 No Asbestos fibre detected
	Interior:
Ceiling sheeting throughout the upper level - 
	19 October 2013 – SLR report:
Sampling of this location

	05/08/2024
	 KM4
	 No Asbestos fibre detected
	Exterior:
Compressed sheeting to verandahs, both ends of the building 
	19 October 2013 – SLR report:
Sampling of this location

	05/08/2024
	KM5
	 No Asbestos fibre detected
	Exterior:
Wall sheeting to the upper level of the Building  
	19 October 2013 – SLR report:
Sampling of this location

	05/08/2024
	S01
	 No Asbestos fibre detected
	Exterior:
Wall sheeting – Room K1 south elevation
	2024 Inspections

	05/08/2024
	S02
	 No Asbestos fibre detected
	Exterior:
Soffit – Room K1 south elevation
	2024 Inspections

	05/08/2024
	S03
	 No Asbestos fibre detected
	Interior:
Ceiling – Room K1 south elevation
	2024 Inspections
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