| 2024 ASBESTOS REGISTER – DISCOVERY (Building 12), Rockhampton Girls Grammar School Date of register: 06/06/2024 NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Workplace address: |  | Rockhampton Girls Grammar School – Denham Street, Rockhampton City QLD 4700 |  | Name and contact details of competent person: | Lawrence Lyons Asbestos Assessor Licence No. 2317266 Environics (QLD) Pty Ltd ABN 76 354 368 913 Tel. 0429 128 145 |  | Workplace owner / manager: | Kasey Mitchell Facilities and Services Manager Rockhampton Girls Grammar School Tel. 0427 414 819 |
| Areas not assessed: |  | Ceiling cavities located beyond inspection openings, utility pits, and elevated areas where safety measures cannot be practically implemented. |  |  |  |  |  |  |
| Asbestos related documents: |  | ENV-2023-062 Ver 1-4 Asbestos Management Plan & ACM Register - RGGS, Denham St The Range Q 4700.pdf - Appendix One ENV-2023-062-RGGS-ASBESTOS REGISTER-v1-02.10.2024. (this document) - Appendix Two RGGS-691-PRO-ASBESTOS-MANAGEMENT-PROCEDURE-v1-24.07.2024 - Appendix Three RGGS-692-PRO-ASBESTOS-INCIDENT-MANAGEMENT-PROCEDURE-v1-24.07.2024 - Appendix Four RGGS-720-GDL-ASBESTOS-MANAGEMENT-POSTER-v1-24.07.2024 |  |  |  |  |  |  |
| Consultation: |  | Attach minutes of relevant future meeting to this document. |  |  |  |  |  |  |
| Disclaimer and Limitations: |  | Inspections were limited to accessible areas without dismantling or removing objects, including vegetation, insulation, coverings, furnishings, and personal belongings. Areas such as inside walls, between floors, and behind stored items were not inspected. No destructive procedures were performed, and relevant legislation was followed. For further details on regulations, please refer to additional materials. Compliance and Liability: This register does not serve as a 'Certificate of Compliance' unless specified and does not warranty against future asbestos issues. The report does not confirm that all areas are asbestos-free. The competent person is not liable for undetectable asbestos requiring structural disruption. |  |  |  |  |  |  |
| Date | Sample No. | Type of material identified or assumed and amount (Cross-sectional areas are estimates – measure before quoting) | Friable or non-friable asbestos | Condition of asbestos | Specific location of identified or assumed asbestos | Notes |  |  |
| 05/08/2024 |  |  |  |  |  | A previous asbestos survey designated this building as Modular Building K 1 & K2 Reinspection 14/09/2024 and further sampling. The desktop review of historical records, coupled with the walkthrough inspection, additional sampling verified that that there is no visual evidence of ACMs in this building. |  |  |

.

Page 1 of 3

| 2024 ASBESTOS REGISTER – FLORENCE HOUSE, Rockhampton Girls Grammar School Date of register: 06/06/2024 NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work. |  |  |  |  |
| --- | --- | --- | --- | --- |
| NON-ASBESTOS MATERIALS The following materials were tested and found not to contain asbestos: |  |  |  |  |
| Date | Sample No. | Result of Analysis | Location | Notes |
| 05/08/2024 | KM1 | No Asbestos fibre detected | Interior: Wall sheeting to entrance alcoves of the Classrooms | 19 October 2013 – SLR report: Sampling of this location |
| 05/08/2024 | KM2 | No Asbestos fibre detected | Interior: Wall sheeting to dividing walls of classrooms | 19 October 2013 – SLR report: Sampling of this location |
| 05/08/2024 | KM3 | No Asbestos fibre detected | Interior: Ceiling sheeting throughout the upper level - | 19 October 2013 – SLR report: Sampling of this location |
| 05/08/2024 | KM4 | No Asbestos fibre detected | Exterior: Compressed sheeting to verandahs, both ends of the building | 19 October 2013 – SLR report: Sampling of this location |
| 05/08/2024 | KM5 | No Asbestos fibre detected | Exterior: Wall sheeting to the upper level of the Building | 19 October 2013 – SLR report: Sampling of this location |
| 05/08/2024 | S01 | No Asbestos fibre detected | Exterior: Wall sheeting – Room K1 south elevation | 2024 Inspections |
| 05/08/2024 | S02 | No Asbestos fibre detected | Exterior: Soffit – Room K1 south elevation | 2024 Inspections |
| 05/08/2024 | S03 | No Asbestos fibre detected | Interior: Ceiling – Room K1 south elevation | 2024 Inspections |

Page 2 of 3

Page 3 of 3