| 2024 ASBESTOS REGISTER – HEALTH (Building 19), Rockhampton Girls Grammar School Date of register: 29/10/2024 NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Workplace address: |  | Rockhampton Girls Grammar School – Denham Street, Rockhampton City QLD 4700 |  | Name and contact details of competent person: | Lawrence Lyons Asbestos Assessor Licence No. 2317266 Environics (QLD) Pty Ltd ABN 76 354 368 913 Tel. 0429 128 145 |  | Workplace owner / manager: | Kasey Mitchell Facilities and Services Manager Rockhampton Girls Grammar School Tel. 0427 414 819 |
| Areas not assessed: |  | Ceiling cavities located beyond inspection openings, utility pits, and elevated areas where safety measures cannot be practically implemented. |  |  |  |  |  |  |
| Asbestos related documents: |  | ENV-2023-062 Ver 1-4 Asbestos Management Plan & ACM Register - RGGS, Denham St The Range Q 4700.pdf - Appendix One ENV-2023-062-RGGS-ASBESTOS REGISTER-v1-02.10.2024. (this document) - Appendix Two RGGS-691-PRO-ASBESTOS-MANAGEMENT-PROCEDURE-v1-24.07.2024 - Appendix Three RGGS-692-PRO-ASBESTOS-INCIDENT-MANAGEMENT-PROCEDURE-v1-24.07.2024 - Appendix Four RGGS-720-GDL-ASBESTOS-MANAGEMENT-POSTER-v1-24.07.2024 |  |  |  |  |  |  |
| Consultation: |  | Attach minutes of relevant future meeting to this document. |  |  |  |  |  |  |
| Disclaimer and Limitations: |  | Inspections were limited to accessible areas without dismantling or removing objects, including vegetation, insulation, coverings, furnishings, and personal belongings. Areas such as inside walls, between floors, and behind stored items were not inspected. No destructive procedures were performed, and relevant legislation was followed. For further details on regulations, please refer to additional materials. Compliance and Liability: This register does not serve as a 'Certificate of Compliance' unless specified and does not warranty against future asbestos issues. The report does not confirm that all areas are asbestos-free. The competent person is not liable for undetectable asbestos requiring structural disruption. |  |  |  |  |  |  |
| Date | Sample No. | Type of material identified or assumed and amount (Cross-sectional areas are estimates – measure before quoting) | Friable or non-friable asbestos | Condition of asbestos | Specific location of identified or assumed asbestos | Notes |  |  |
| 06/10/2024 | 31 | Chrysotile & Amosite | Non-friable | Good condition, painted | Interior: Ceilings of veranda – level one | COHLABS Certificate of Analysis No. 24-11633 |  |  |
| 06/10/2024 | 32 | Chrysotile & Amosite | Non-friable | Good condition, painted | Interior: Ceilings of recovery room – level one | COHLABS Certificate of Analysis No. 24-11633 |  |  |
| Reinspection 19/10/2024 | GF-H1-2 | Chrysotile & Amosite | Non-friable | Good condition, painted | Interior: East wall to the workshop below the Health Centre | SLR report 19/10/2023 |  |  |

.

Page 1 of 3

| 2024 ASBESTOS REGISTER – HEALTH (Building 19), Rockhampton Girls Grammar School Date of register: 29/10/2024 NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date | Sample No. | Type of material identified or assumed and amount (Cross-sectional areas are estimates – measure before quoting) | Friable or non-friable asbestos | Condition of asbestos | Specific location of identified or assumed asbestos | Notes |
| Reinspection 19/10/2024 | H2 | Chrysotile | Non-friable | Not Found | Interior: NOT FOUND - Black backing board to the fuse board beneath the building | SLR report 19/10/2023 - Believed removed after 2013 |
| Reinspection 19/10/2024 | GF-H3-2. | Chrysotile & Amosite | Non-friable | Good condition, painted | Interior: West wall sheeting | SLR report 19/10/2023 – remains |
| Reinspection 19/10/2024 | GF-H3-3. | Chrysotile & Amosite | Non-friable | Good condition, painted | Exterior: South wall sheeting of level one | SLR report 19/10/2023 – remains All external wall sheeting considered to contain asbestos |
| Reinspection 19/10/2024 | H4 | Chrysotile | Non-friable | Not Found | Interior: Vinyl flooring – level one | SLR report 19/10/2023 - Believed removed after 2013 |
| Reinspection 19/10/2024 | H5 | Chrysotile | Non-friable | Good condition, painted | Interior: Wall sheeting to Kitchen & Dining Area of Health Centre, Common to the Verandah & Staircase | SLR report 19/10/2023 – remains Note: top of stairwell on left, no asbestos detected in this sheeting i.e. mixed sheeting may exist. |
| Reinspection 19/10/2024 | RL-H8-1 | Chrysotile | Non-friable | Good condition, painted | Exterior: Eaves at the southern end, outside the dining room | SLR report 19/10/2023 – remains |
| Reinspection 19/10/2024 | RL-H8-2 | Chrysotile | Non-friable | Good condition, painted | Exterior: Eaves at the northern end of the building outside the classroom | SLR report 19/10/2023 – remains |
| Reinspection 19/10/2024 | RL-H8-3 | Chrysotile | Non-friable | Good condition, painted | Exterior: Gables at the western end of the building | SLR report 19/10/2023 – remains |

Page 2 of 3

| 2024 ASBESTOS REGISTER – HEALTH (Building 19), Rockhampton Girls Grammar School Date of register: 29/10/2024 NOTE: A demolition or refurbishment survey should be carried out by a competent person before undertaking refurbishment or demolition work. |  |  |  |  |
| --- | --- | --- | --- | --- |
| NON-ASBESTOS MATERIALS The following materials were tested and found not to contain asbestos: |  |  |  |  |
| Date | Sample No. | Result of Analysis | Location | Notes |
| Reinspection 19/10/2024 | 31 | No asbestos detected in sample. Organic fibres detected | Interior: Walls adjacent to stairwell leading to level one. | COHLABS Certificate of Analysis No. 24-11633 |
| Reinspection 19/10/2024 | GF-H1-1 | No asbestos detected in sample. Organic fibres detected | Interior: Sampling found the north and south walls to be asbestos free | SLR report 19/10/2023 |
| Reinspection 19/10/2024 | GF-H1-3. | No asbestos detected in sample. Organic fibres detected | Interior: South wall to the workshop below the Health Centre | SLR report 19/10/2023 |
| Reinspection 19/10/2024 | GF-H3-1. | No asbestos detected in sample. Organic fibres detected | Exterior: West wall sheeting – level one | SLR report 19/10/2023 Sampling found the west inner and southern lower ground external walls to contain asbestos, while the external west outer wall does not contain asbestos. |
| Reinspection 19/10/2024 | LP 1 & 2 | No asbestos detected in sample. Organic fibres detected | Exterior: Cover strips to external wall sheeting of the building | SLR report 19/10/2023 |

Page 3 of 3